Cavan County Council

2012

Dangerous Substances (Retail & Private Petroleum Stores) Regulations 1979, as amended

Additional information to accompany application

Every application for a first licence or the renewal of a Licence shall be accompanied with the following information:

Application Form and Fees

- Completed application form  - (Schedule 2  - Form of Application for the Licence)

- Fees – in accordance with attached schedule.

Drawings (3 copies) & Information

- A plan drawn to a scale in metric units of measurement of not less than 1:2500 or 1: 1000, marked and coloured so as to identify clearly the site or proposed site, including the boundaries which shall be marked in red, of the retail or private store.

- One site plan in metric unit of measurement of not less than 1:100 so marked and colored so as to identify clearly –

  - Each underground storage tank (with quantity of petroleum Class I),

  - location of any disused underground storage tanks

  - each pipeline including suction , venting & off-set filling points

  - each dispensing pump connected to such a tank

  - each container store or container compound, and

  - All other buildings or structures (including cellars or basements) within a distance of 16 metres of each:

    - underground storage tank,

    - offset filling point,

    - dispensing pump,

    - ventilating pipe opening,

    - container store or container compound;

The drawings should be clearly dimensioned showing the position of the –

  - centre point of a underground storage tank manhole opening or offset filling point - (which must be in the opened air and 4.25 metres from the boundaries, opening in a building, public roads and vent pipes).

  - dispensing pumps used for the delivery of petroleum – (which must be in the opened air and 4.25 metres from the boundaries, opening in a building, public roads and vent pipes).

  - ventilation pipework – (positioned not less than 1.5m away from the boundary, not less than 4m above ground level and not less than 6 m from the dispensing pumps)

- Where there are any discontinued use of an underground storage tank/s used for the storage of petroleum Class I – a certificate of decommissioning is required from a registered person – (i.e.‘ rendeing the tank immune from the risk of fire or explosion’).

- One plan and specification or appropriate particulars, including suitable drawings or plans, elevations and sections to a scale in metric units of measurement of not less than 1:50 so marked as to give adequate details of construction or proposed construction and dimensions and manner of installation or proposed installation of each:

  - underground storage tank,

  - dispensing pump,

  - container store, container compound and

  - any pipeline (including its diameter);

- One plan or specification or appropriate particulars shall be so marked as to show all electrical apparatus installed or used at a distance not exceeding 5 metres of each

  - Underground storage tank,

  - Filling points or off set filling points

  - container store, container compound,

  - dispensing pump

  - vent pipes

- A drawing showing the location of the tank vehicle during transfer of petroleum Class I from tank-vehicle to underground storage tank including the site lighting.

- One site plan in metric unit of measurement of not less than 1:100 so marked and coloured so as to identify clearly:

  - details of the surface area of the ground used to accommodate the tank vehicle during transfer of petroleum Class I and within a radius of not less than 4 meters of a petroleum dispensing pump (‘which shall be suitably covered with an adequate thickness of concrete or other impervious & non – absorbent material)

  - Details of the drainage fall on the surface area of the ground and the underground drainage system (i.e. clearly showing the position of the underground petrol interceptor).

  - Details  of all  canopy, kiosk and other roof drainage systems with the location of rodding eyes and manhole chambers – (i.e. if the system is not being discharged into the petrol interceptor, then clearly indicate on the drawings whether  inspection chambers and rodding eyes  have been double sealed to prevent the ingress of hydrocarbons, if they are in a location in which they may become contaminated)

  - State on the drawing the capacity of the petrol interceptor.

  - Details of the petrol interceptor venting arrangement and flame arrester.

  - Details of the waste water from automatic vehicle wash. This should be managed in a totally separate drainage system to the one used to drain the forecourt.

  - Details of the drainage around the tanker delivery stand which should be sized to accommodate a maximum size tanker with sufficient margin around the tanker to accommodate splashing in the event of a spill.

- In accordance with clause 42, 43, 44 & 45(1b), 45 (1g) – Certificate of compliance from a competent person for the mechanical installation for dispensing petroleum Class I (i.e. the examination of the dispensing pumps, hoses, nozzles and associated equipment). See Appendix_1.

- Certificate of compliance for Stage 1b Vapour Recovery System.

- Certificate of testing for the pressure vacuum valves (P/V valves) on the ventilation pipes.

- Certificate of testing & inspection from a competent person for the electrical installation. See Appendix_2.

- A copy of the pressure test certificate for the tank and pipework. For a renewal of DSA Licence where the pipework and tank installation are over 20 years a copy is required of the new pressure test certificate for the tank and associated pipework.

- Certificate of testing for the portable fire extinguishers in accordance with IS 290.

- State on the drawings the devise/method used for measuring the quantity of petroleum Class I in the storage tanks (i.e. Electronic or manual). Where an electronic system is used the annual certificate of servicing is required.

- Copy of most recent transfer certificate of waste material from the petrol interceptor.

APPENDIX_1

Petroleum Class 1

Dispensing Equipment -

Inspection Certificate

Cavan County Council

I.S. No. 10 of 1972: Dangerous Substances Act, 1972 as amended

I.S. No. 311: Dangerous Substances (Retail & Private Petroleum Stores) Regulations, 1979 as amended

Petroleum Class 1 Dispensing Equipment -

Inspection Certificate

__________________________________________________

Name of Licensee: ____________________________________________________________

Address of Licensed Store: ______________________________________________________

____________________________________________________________________________

____________________________________________________________________________

Number of Dispensers Inspected _____________________

Date of Inspection: ________________________________

Make and Serial Number of dispensers inspected (if available) __________________________

____________________________________________________________________________

Number of remote and/or submerged pumps inspected ________________________________

Make and Serial Number of remote and/or submerged pumps (if available) ________________

____________________________________________________________________________

Chartered Mechanical Engineer/approved competent contractors, Name and Address:

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

I/We hereby certify that the mechanical installation for dispensing petroleum class 1 at the above store has been thoroughly examined by me/us and complies in all respects to the requirements of the Dangerous Substances (Retail and Private Petroleum Stores) Regulations, 1979 as amended, in particular it complies with Regulations 42, 43, 44, 45(1)(b) and 45(1)(g).  The examination includes all petroleum equipment and all remote and/or submerged pumps where these occur.

Signature of Chartered Mechanical Engineer or approved competent contractor accepting responsibility for the issue of the certificate:

____________________________________________________________________________

Qualification: _________________________________________________________________

Date: ________________________________

APPENDIX_2

Form of Certificate

for

Electrical Installation

Cavan County Council

I.S. No. 10 of 1972: Dangerous Substances Act, 1972 as amended

I.S. No. 311: Dangerous Substances (Retail & Private Petroleum Stores) Regulations, 1979 as amended

Electrical Test and Inspection Required under Regulation 24(3) of IS No. 311

Form of Certificate for Electrical Testing & Inspection

Name of Licensee: ____________________________________________________________

Address of Licensed Store: ______________________________________________________

____________________________________________________________________________

____________________________________________________________________________

Date of Inspection: ________________________________

Electrical Contractor’s Name: 	________________________________________________

Electrical Contractor’s Address: 	________________________________________________

____________________________________________________________________________

____________________________________________________________________________

Note: This form shall include a signed copy of the ETCI Sub-system Completion Certificate of the Electrical Installation in accordance with standard I.S. EN 60079-17 and ET105:2011 National Rules for Electrical Installations in Potentially Explosive Atmospheres.

Guidelines for sub-system completion certificates and test records for Electrical Installations in Potentially Explosive Atmospheres are set out in Annex K of ET105:2011.

Sub-System Completion Certificate Number:          _________________________________

I declare I am competent to sign this Form of Certificate and herby certify that the electrical installation in the hazardous area at the above premises is in accordance with I.S. EN 60079-17 and ET105:2011 National Rules for Electrical Installations in Potentially Explosive Atmospheres.

Signature: 				________________________________

Qualification:			________________________________

Date: 				________________________________